### CITY OF YPSILANTI

### NOTICE OF ADOPTED ORDINANCE

### Ordinance No. 1452

### 1.	THE CITY OF YPSILANTI HEREBY ORDAINS That the Ypsilanti City Code is Chapter 50- FIRE PREVENTION AND PROTECTION, is hereby amended Which Chapter reads as follows:

### ARTICLE II. FIRE PREVENTION CODE

Sec. 50-31. Adoption of code.

There is hereby adopted by the city the NFPA 1, Fire Code, 2018 Edition 2024 Edition, and documents adopted by Chapter 2 and each and all of the regulations, provisions, penalties, conditions and terms of the NFPA 1, Fire Code, 2018 Edition 2024 Edition are hereby referred to, adopted and made a part hereof, as if fully set out in this section with the additions, insertions, deletions and changes, if any prescribed in section 50-33. Three copies of the NFPA 1, Fire Code, 2018 Edition 2024 Edition, will be on file in the office of the city fire department, the city clerk's office, and the city building department and shall be appropriately marked and designated as such. In addition, a link to the NFPA 1, Fire Code 2018 Edition 2024 Edition and other pertaining adopted NFPA codes will be made available on the city's website.

(Code 1983, § 9.341; Ord. No. 827, § 9.341, 10-16-1995; Ord. No. 1106, § 1, 9-22-2009; Ord. No. 1314, § 1, 7-17-2018)

State law reference(s)—Authority to adopt technical code by reference, MCL 117.3(k).

Sec. 50-32. Conflicts.

In the event of a conflict between the ordinance from which this section was derived and the Fire Prevention Code, the Building Code, or Property Maintenance Code, the aforementioned codes will govern to the extent that the ordinance from which this section was derived is preempted in its application. Additionally, for as long as the NFPA rules are the rules adopted by the state, the state adopted NFPA edition rules govern where the ordinance from which this section was derived and the state adopted NFPA edition rules conflict.

(Code 1983, § 9.342; Ord. No. 827, § 9.342, 10-16-1995; Ord. No. 1106, § 1, 9-22-2009; Ord. No. 1314, § 1, 7-17-2018)

Sec. 50-33. Additions, insertions, and changes.

The NFPA 1, Fire Code, 2018 Edition 2024 Edition is amended and changed in the following respects:

Section 1.10.1, page 1-15. Delete section and replace with: page 1-17 Section 1.11.1

Section 1.11.1. Establishment of Fire Code Board of Appeals. The Washtenaw County Construction Board of Appeals is designated as the Fire Code Board of Appeals for the city. Any person affected by any notice or order given by the City of Ypsilanti Fire Department pursuant to the Fire Prevention Code adopted by the City of Ypsilanti may request an appeal to the Washtenaw County Construction Board of Appeals.

Section 1.10.1.1.1, page 1-15. This section is deleted.

Section 1.10.1.1.2, page 1-15. This section is deleted.

Section 1.10.1.1.2.1, page 1-15. This section is deleted.

Section 1.10.1.1.3, page 1-15. This section is deleted.

Section 1.10.1.1.4, page 1-15. This section is deleted.

Section 1.10.1.1.5, page 1-15. This section is deleted.

Section 1.10.1.1.5.1, page 1-15. This section is deleted.

Section 1.10.1.1.5.2, page 1-15. This section is deleted.

Section 1.10.1.1.5.3, page 1-15. This section is deleted.

Section 1.10.1.1.6, page 1-15. This section is deleted.

Section 1.10.1.1.7, page 1-15. This section is deleted.

Section 1.10.1.1.8, page 1-15. This section is deleted.

Section 1.10.5.1, page 1-16. This section is deleted.

Section 1.10.5.2, page 1-16. This section is deleted.

Section 1.10.5.3, page 1-16. This section is deleted.

Section 1.10.5.4, page 1-16. This section is deleted.

Section 1.10.5.5, page 1-16. This section is deleted.

Section 1.13 Certificates of Fitness, pages 1-21 to 1-23. Change Section 1.14 pages 1-24 to 1-26 "Certificates of Fitness" to read "Certificates of Occupancy" in the title and all further references to "Certificate of Fitness" found in sub-sections of Section 1.14 change to "Certificate of Occupancy."

Section 2.2, page 1-25. Change "NFPA 101®, Life Safety Code®, 2018 edition" to Section 2.2 page 1-28 "NFPA 101, Life Safety Code, 2024 edition excepting Chapters 12, 14, 16, 18, 22, 28, 30, 32, 36, and 38 pertaining to new occupancies or construction as those are regulated by the International Building Code."

Section 10.10.1, page 1-66. Delete section and replace with:

Section 10.10.1 page 1-72 Open source fires or open Burnings. Open source fires or open burnings are prohibited within the city except where specifically permitted as follows:

A.	No person may kindle, authorize or maintain a rubbish fire or bonfire on public or private land or on any street or alleyway.

B.	The burning of leaves, trees, logs, brush or stumps is prohibited.

C.	Any burning that is offensive or objectionable because of smoke or odor emission must be extinguished immediately. The Fire Department is authorized to order the extinguishment of illegal open burning or fires and any burning or fires creating a hazard.

D.	The following fires are approved:

1.	Small cooking fire contained in a vessel designed for that use so long as it complies with the subsections above.

2.	Outdoor fireplaces that comply with the subsections above.

3.	Salamanders or other devices used for heating construction or other workers so long as no nuisance is created.

4.	Controlled wild fire burns may be allowed by the Fire Marshal when this action is necessary to protect rare plants dependent on fire for seed production.

5.	Open fire for recognized ceremonial purpose only may be permitted after obtaining approval from the Fire Official subject to the following:

a.	The fire must be constantly attended; and

b.	A garden hose, fire extinguisher or other approved fire extinguishing equipment must be available for immediate use.

6.	Small fires used by municipal firefighters for training purposes.

E.	Fees. Persons who cause the fire department to respond due to a violation of this section are responsible for the Fire Department's costs and expenses as set forth in Chapter 38 "Emergency Services," Article III "Recovery of certain emergency response costs," Division 4 "Incidents involving the response of the Fire Department."

Section 10.13 Seasonal and Vacant Buildings and Premises, page 1-68. Delete sections 10.12.1 through 10.12.3 Section 10.12 Seasonal and Vacant Buildings and Premises, page 1-74. Delete sections 10.12.1 through 10.12.3 and replace with a reference stating "See Ypsilanti City Code, Chapter 18, Article VI, Division 5, Vacant Buildings."

Section 13.7.1.13.6* Annunciation Zoning, page 1-134. Add a new subsection 13.7.1.13.6.4 that reads as follows:

Section 13.7.1.13.6.4 The geographical location for each zone and/or initiating device shall be worded in a fashion that easily identifies the precise location of the triggering device. For large structures, a reference map or sketch placed by the annunciating panel may be required.

Section 18.6 Fire Department Connections (FDC), page 1-223. Add a new Section 18.6 Fire Department Connections (FDC) that reads as follows:

Section 18.6 Fire Department Connections (FDC). Fire Department Connections (FDC) shall comply with the following:

A.	Fire Department connections shall be located not more than 100 feet from a fire hydrant connected to an approved water supply unless approved by the authority having jurisdiction.

B.	Fire Department connections shall be located between 18 and 48 from ground level.

C.	Fire Department connections shall be 4 inch storz.

D.	Each Fire Department connection to a sprinkler system shall be designated by a sign having raised or engraved letters at least 1 inch (25.4 mm) in height on plate or fitting reading service design, for example, AUTOSKR., OPEN SPKR., AND STANDPIPE.

E.	When several Fire Department connections exist, a sign shall indicate which area(s) each connection feeds.

(Code 1983, § 9.343; Ord. No. 827, § 9.343, 10-16-1995; Ord. No. 931, 5-1-2001; Ord. No. 1106, § 1, 9-22-2009; Ord. No. 1226, § 1, 9-2-2014; Ord. No. 1314, § 1, 7-17-2018)

Sec. 50-34. Penalties.

Any person who violates any of the provisions of the following sections of this Code, sections 1.7.9; 1.7.10; 1.8; 1.8.1; 1.8.2; 1.8.3; 1.8.4; 1.8.5; 4.1.5; 4.1.5.1; 4.1.5.2; 10.1.5; 10.4; 10.4.1; 10.4.2; 10.5; 10.5.1; 10.5.2; 10.5.3; 10.5.4;10.6.1; 10.6.1.2; 10.6.1.3; 10.6.4; 10.7.1; 10.7.1.1; 10.7.1.2; 10.7.1.3; 10.7.1.4; 10.7.4 10.7; 10.7.1; 10.7.2; 10.7.3; 10.8; 10.8.1; 10.8.1.1; 10.8.2; 10.8.3; 10.14.11.4; 10.14.11.4.1; 10.14.11.4.2; 10.14.12.4; 10.14.12.4.1; 10.14.12.4.2; 17.3; 17.3.1; 17.3.2; 17.3.3; 17.3.3.1; 17.3.3.2; 17.3.3.3; 17.3.4.4; 19.1; 19.1.1; 19.1.2; 19.1.3; 19.1.4; 19.1.5; 20.1.5.3; 20.1.5.3.1; 24.1; 24.1.1; 24.1.2; 24.2; or standard hereby adopted for those sections or who fail to comply with any order made thereunder; or who shall build in violation of any detailed statement of specifications or plans submitted and approved thereunder; or failed to operate in accordance with any certificate or permit issued thereunder; and from which no appeal has been taken; or who shall fail to comply with such an order within the time fixed herein, shall severally for each and every such violation and noncompliance, respectively, be guilty of misdemeanor, punishable by a fine of not less than $100.00 nor more than $500.00 or by imprisonment for not more than 90 days or by both such fine and imprisonment. The imposition of one penalty for any violation shall not excuse the violation or permit it to continue; and all such persons shall be required to correct or remedy such violations or defects within a reasonable time; and when not otherwise specified the application of the above penalty shall not be held to prevent the enforced removal of prohibited conditions. Each day that prohibited conditions are maintained shall constitute a separate offense.

Any person who shall violate any provision of all other sections of this Code or standard hereby adopted or fail to comply therewith; or who shall violate or fail to comply with any order made thereunder; or who shall build in violation of any detailed statement of specifications or plans submitted and approved thereunder; or failed to operate in accordance with any certificate or permit issued thereunder; and from which no appeal has been taken; or who shall fail to comply with such an order within the time fixed herein, shall severally for each and every such violation and noncompliance, respectively, be guilty of a blight violation, subject to payment of a civil fine as set forth in section 71-73. Repeat offenses under this chapter shall be subject to increased fines as set forth in section 71-73. The imposition of one penalty for any violation shall not excuse the violation or permit it to continue; and all such persons shall be required to correct or remedy such violations or defects within a reasonable time; and when not otherwise specified the application of the above penalty shall not be held to prevent the enforced removal of prohibited conditions. Each day that prohibited conditions are maintained shall constitute a separate offense.

(Ord. No. 1106, § 1, 9-22-2009; Ord. No. 1198, § 1, 10-1-2013; Ord. No. 1314, § 1, 7-17-2018)

Secs. 50-35—50-50. Reserved.

CERTIFICATE OF ADOPTING

I hereby certify that the foregoing is a true copy of the Ordinance passed at the regular meeting of the City Council held on the 23rd day of September, 2025.

__________________________________

Tracey Boudreau, City Clerk